Insertion of Testosterone Pellet Implant (Female)

- INSERTION SITE

  - Upper gluteal area (posterior) in a line between iliac crest and gluteal crease

OR

  - Anterior lower abdominal wall, 1 cm medial to anterior iliac spine parallel to the inguinal ligament

- PROCEDURE

  - For gluteal insertion: place the patient on their side, rolled slightly anterior.

  - Prep the skin (betadine)

  - Use 5 cc’s of local anesthesia (1% lidocaine with epi) to anestitize the skin and subcutaneous tract (5 cm in length)

  - Using a #11 blade, make a small 5 mm transverse skin incision about 5 mm in depth

  - Guide the sterile cannula/sharp trocar into the subcutaneous tissue about 5 mm under the skin, parallel to the skin

    - From medial towards lateral

    - Can also be done the opposite direction

  - Remove the sharp trocar and insert the pellets into the cannula using a sterile forceps or sterile gloves

  - Using the sterile blunt trocar, advance the pellets beyond the tip of the cannula

  - Remove the cannula/blunt trocar

  - Place a skin tape over the incision

  - Apply a dressing and have the patient hold pressure for 5 minutes

- SUPPLIES NEEDED

  - Trocar kit and local anesthesia

OR

  - 3 piece trocar, needle and syringe (21 gauge needle works best), #11 blade (Scalpel), alcohol or betadine skin prep, sterile gloves or sterile forceps to handle sterile pellets, skin closures tape (steri strips), gauze and local anesthesia